| # Purpose The purpose of this plan is to detail specific requirements for handling, transport and disposal of waste asbestos at the Inuvik Power Plant. # Scope This plan details the project specific asbestos management and disposal requirements and responsibilities to be followed in order to minimize exposure to asbestos in asbestos contaminated materials scheduled to be transported from NTPC facilities to the Inuvik landfill. # Definitions Project Manager An NTPC employee, typically an Engineering or Operations Manager, who is given the overall responsibility and authority for the successful completion of a project. Supervisor An individual who is authorized by an employer to oversee or direct workers. Worker Any person (employee or contractor) conducting work on an NTPC-owned project, with or without remuneration. Includes a supervisor and a self-employed person. # References - GNWT Guideline for the Management of Waste Asbestos 2004 - NTPC Asbestos Management Plan (Draft) - WSCC Asbestos Abatement Code of Practice |  |  |  |
| --- | --- | --- | --- |
| # Responsibilities - Management - Management members are responsible to ensure that the Asbestos Disposal Plan is effectively implemented in their areas of control, supporting and holding responsible the supervisors and workers that report to them. - Management is responsible to: - Know and understand how to use the Asbestos Disposal Plan and relevant health & safety legislation. - Ensure that the Asbestos Disposal Plan is fully implemented at their work locations. - Provide information, instructions, and assistance to all supervisors and workers in order to protect their health & safety. - Act as health & safety role models. - Assist in identifying and eliminating/controlling workplace hazards. - Provide supervisors with the tools and equipment necessary for workers to complete their tasks safely. - Monitor supervisors and hold them accountable for their individual health & safety performance. - Participate in the evaluation of the Asbestos Disposal Plan. - Supervisors - Each supervisor is responsible, and will be held accountable, for taking all practical measures to ensure that the workplace under their control and the behaviour of all persons in that workplace is safe and without risks to health & safety. - Supervisors are responsible to: - Implement the appropriate health & safety programs at their work locations. - Ensure safe working conditions for all workers under their supervision. - Act as health & safety role models. - Know and understand how to use the Asbestos Disposal Plan and relevant health and safety legislation. - Assist in identifying and eliminating/controlling workplace hazards. - Provide information, instructions, and assistance to workers in order to protect their health & safety. - Participate in the evaluation of the Asbestos Disposal Plan. - Workers - All workers are required to cooperate with the Asbestos Disposal Plan to ensure their own health & safety and the health & safety of all others in the workplace. - Workers are responsible to: - Play an active role in the development, implementation, and review of the Asbestos Disposal Plan. - Act as a role model for coworkers and new workers. - Demonstrate due diligence by taking all reasonable care to protect themselves, their coworkers, contractors, and the general public. - Know and comply with the Asbestos Disposal Plan rules and procedures. - Participate in safety training sessions. - Correct or immediately report any unsafe act or condition. - Inform a supervisor of any physical or mental impairment that may affect his/her ability to work safely. - Maintain 'good housekeeping' in the work area. - Report all incidents to their supervisor. - Health & Safety Department - The Health & Safety Department is part of the Health, Safety & Environment Division. - The Health & Safety Department is responsible to: - Develop, implement, and maintain the Asbestos Disposal Plan based on legislation and best industry practice. - Train and assist workers on the Asbestos Disposal Program and the use of the tools. - Maintain health & safety related documentation & statistics. - Provide interpretation of legislation. This will enable NTPC to provide a safe and healthy workplace. - Contractors and Subcontractors - All contractors and subcontractors engaged to perform work on NTPC premises or projects are required, as part of their contract, to comply with the NTPC Asbestos Disposal Plan and to observe directions on health & safety from NTPC. Failure to comply or observe a direction is considered a breach of contract and is sufficient grounds for termination of the contract. - Contractors and subcontractors are responsible to: - Comply with all applicable health & safety legislation. - Comply with all applicable NTPC Health & Safety Program requirements. - Take all practicable precautions against the risk of loss of life, injury, and disease to their workers, NTPC workers, and any other persons about the project location. - Instruct their workers in the NTPC Health & Safety Program requirements and the regulator requirements. - Assume responsibility for the coordination of their subcontractors’ compliance with the requirements of the NTPC Health & Safety Program and applicable health & safety legislation. |  |  |  |
| # Background and Risk Assessment (include photos) - Background - Risk Assessment - Risk Determination |  |  |  |
| # Required Equipment |
| # Required Personal Protective Equipment The following personal protective equipment (PPE) shall be used when handling (ie. loading and unloading) all ACM for disposal:. |
| # Pre-job Planning |
| # Site Preparation |
| # Procedure |  |  |  |
| # Decontamination |  |  |  |
| # Disposal |  |  |  |
| # Site Inspection |  |  |  |
| # Documentation - (e.g. Form 2.3 – Tailboard Form) - [e.g. Asbestos Project Notification Form (Workers’ Safety & Compensation Commission)] |  |  |  |
| Authorization |  |  |  |  |
| “By signing below I agree that I have read, understand, and will comply with this Asbestos Disposal Plan.” |  |  |  |  |
| Contractor: |  | Signature: |  |  |
| Project Manager: |  | Signature: |  |  |
| Worksite Supervisor |  | Signature: |  |  |
| Development |  |  |  |  |
| Name | Position |  | Date |  |
| Prepared by: | Project Manager |  |  |  |
| Reviewed by: | NTPC Health & Safety Department |  |  |  |
| Approved by (WSCC Inspector): |  |  |  |  |

| Revision History |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| # | Revised Sections | Description of Revisions | Revised by (name, position) | Approved by (name, position) | Issue Date |
| 01 |  |  |  |  |  |